Park XE-150 Startup and Shutdown Procedures

Startup:

- Turn on Herzan vibration isolation pad inside XE-150 enclosure

  - Turn on power

  - Press the “E” key

  - Wait for the message “Isolation Enabled”

- Turn on the control electronics

  - XY Stage Controller

  - SPM Controller

- Turn on the computer

Shutdown:

- Turn off Herzan vibration isolation pad inside XE-150 enclosure

  - Press the “E” key; display should read “Isolation Disabled”

  - Turn off power to the Herzan pad

- Turn off the computer and both displays (if they are on)

- Turn off the control electronics

  - XY Controller

  - SPM Controller