| FLEXIBLE DISPLAY CENTER | Document Owner: Nick Munizza | Release Date: |
| --- | --- | --- |
| Document Title: Solvent Hood Operating Procedure | Document No: | Document Rev: 01 |

| SIGNATURES FOR RELEASE OR HISTORY ON FILE IN PRODUCT SPECIFICATIONS | Confidential Proprietary |
| --- | --- |
| ORIGINATOR: Nick Munizza | The information contained in this document is the property of the Flexible Display Center at Arizona State University. No information contained in this document may be disclosed outside of the Flexible Electronics and Display Center at Arizona State University at any time. |
| RESPONSIBLE ENGINEER: Emmett Howard |  |
| DIRECTOR OF OPERATIONS: |  |  |

Table of Contents

1.0	Purpose	3

2.0	Scope	3

3.0	Associated Materials and Equipment	3

4.0	Safety 	3

5.0	Guide line	3

# Purpose

  - To provide a guideline for the solvent hood.

# Scope

  - Outline the use of the solvent hood.

- Safety

  - Be sure to wear the appropriate Safety Apparel (PPE) when using this solvent hood.

- Guide lines

  - This hood exhaust system is set up for solvent only. Use of Acids prohibited.

  - Any wipes with solvent, solvent residue are, discarded into the solvent waste container.

  - Liquid waste are to be disposed into a container marked with a label as solvent waste. This waste will have a tag with the type of solvent(s) and amount written on it. It will then, be placed into the dumbwaiter for disposal.

- Clean-up

  - Be sure to wipe the work surface clean when you have finished.

# Text boxes

| SPECIFICATION FORMAT: |  |
| --- | --- |
| EQUIPMENT MANUFACTURER: | Clean Air Solutions, Inc. |
| EQUIPMENT MODEL: |  |
| FDC ASSIGNED TOOL ID NUMBER: | A.S.U. Property # 4039691 |
| APPLICATION PROGRAM(S) AND REVISION: | Microsoft Word 2003 |