| FLEXIBLE DISPLAY CENTER | Document Owner: | Release Date: |
| --- | --- | --- |
| Document Title: VWR Hot Plate Operating Procedure | Document No: FDC-OP-0000000000 | Document Rev: 01 |

| SIGNATURES FOR RELEASE OR HISTORY ON FILE IN PRODUCT SPECIFICATIONS | Confidential Proprietary |
| --- | --- |
| ORIGINATOR: Nick Munizza | The information contained in this document is the property of the Flexible Display Center at Arizona State University. No information contained in this document may be disclosed outside of the Flexible Display Center at Arizona State University at any time. |
| RESPONSIBLE ENGINEER: Emmett Howard |  |
| DIRECTOR OF OPERATIONS: |  |  |

Table of Contents

1.0	SCOPE	3

1.1	Definitions	3

3.0	SAFETY	3

4.0	PROCEDURES 	3

5.0	Photo	……………4

# SCOPE

## Describes the use of the VWR hot plate.

# EQUIPMENT AND SUPPLIES

## VWR Hot Plate

## Product/Samples for Hot Plate

# SAFETY

## Use caution when heating volatile materials; top surface and element can reach the “Flash Point Temperature” of many chemicals. These hotplates and stirring hotplates are not explosion proof. Fire or explosion may result. Unit contains components that may ignite such materials. Use appropriate hand and eye protection when handling hazardous chemicals.

# OPERATING PROCEDURES

## Setting the Temperature

### To set the temperature, turn the HEAT dial clockwise to the desired setting.

### Maximum temperature is 400oC.

### When choosing a set point, the display will flash until the desired temperature has stabilized. Allow approximately 10mins.

## Hot Plate shut-off procedure

### To discontinue heating, turn dial counter-clockwise to OFF.

### The “CAUTION – HOT TOP” indicator illuminates when the plate reaches 50oC.

# PHOTO

# Text boxes

| SPECIFICATION FORMAT: |  |
| --- | --- |
| EQUIPMENT MANUFACTURER: | VWR |
| EQUIPMENT MODEL: |  |
| ASU ASSIGNED TOOL ID NUMBER: |  |
| APPLICATION PROGRAM(S) AND REVISION: | Microsoft Word 2003 |