## Slide 2
1. Select a suitable transducer
2. Mount transducer & submerge sample in deionized water
3. Select depth/interface of interest
4. Start scanning

## Slide 3
SAM Scan modes
Source - PVA TePla

## Slide 4
HiSA off
HiSA on
High Speed Scanning Axis (HiSA) function
Z-axis is constantly adjusting transducer height which follows surface curvature
300mm Warped wafer