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1.0 SCOPE

1.1 Describes the use of the Cole-Parmer StableTemp hot plate.
2.0 EQUIPMENT AND SUPPLIES 
2.1 Cole-Palmer StableTemp
2.2 Product/Samples for Hot Plate
3.0 SAFETY
3.1 Use caution when heating volatile materials; top surface and element can reach the “Flash Point Temperature” of many chemicals. These hotplates and stirring hotplates are not explosion proof. Fire or explosion may result. Unit contains components that may ignite such materials. Use appropriate hand and eye protection when handling hazardous chemicals.
4.0 OPERATING PROCEDURES
4.1 Setting the Temperature
4.1.1 To set the temperature, turn the HEAT dial to the desired setting.
4.1.2 Turn the dial clockwise to increase the temperature.

4.1.3 Maximum temperature is 300oC.
4.1.4 The temperature will display in oC.

4.1.5 When choosing a set point, the display will flash until the desired temperature reached.
4.2 Hot Plate shut-off procedure
4.2.1 To discontinue heating, turn dial counter-clockwise to OFF.
4.2.2 The “CAUTION – HOT TOP” indicator illuminates when the plate reaches 50oC.

5.0  PHOTO
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SPECIFICATION FORMAT:�
�
�
EQUIPMENT MANUFACTURER:�
Cole-Palmer�
�
EQUIPMENT MODEL: StableTemp�
�
�
ASU ASSIGNED TOOL ID NUMBER:�
�
�
APPLICATION PROGRAM(S) AND REVISION:�
Microsoft Word 2003�
�
�
�
�
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